## Overview
Statistic as Excel data file
Key figures on the system failure suffered by ERCOT during storm Uri in February 2021
Access data
Source |  | Description
The Electric Reliability Council of Texas (ERCOT), which operates Texas' electricity grid, came perilously close to a complete system blackout in February 2021. The Texas power crisis saw power generation fall by 48.6 percent in the night between February 14 and February 15. Over 350 power generators were forced offline due to winter storm Uri and the resulting drop in temperatures, which caused power plant equipment and water for thermal power generation to freeze. The predicted winter peak as of September 2020 was 57,699 megawatts. ERCOT's operating system ran below a frequency of 59.4 hertz for roughly four minutes, five minutes short of risking a complete system blackout.
Source | Utility Dive; ERCOT
Conducted by | Utility Dive; ERCOT
Survey period | Februray 14-15, 2021
Region | United States (Texas)
Type of survey | n.a.
Number of respondents | n.a.
Age group | n.a.
Special characteristics | n.a.
Note | n.a.
Publication
Published by | Utility Dive
Publication date | February 2021
Original source | utilitydive.com
ID | 1215467

## Data
ERCOT's performance indicators in February 2021
Key figures on the system failure suffered by ERCOT during storm Uri in February 2021
Highest reduction in power generation (in percent) | 48.60
Highest reduction in available installed capacity (in megawatts) | 52277
Highest number of generators falling offline | 356
Total installed capacity (in megawatts) | 107514
Winter peak demand (in megawatts) | 69222
Lowest frequency recorded | 59.30
Lowest frequency needed to safely run operating system (in hertz) | 59.40
Number of minutes operating system fell below 59.4 hertz | 4
Number of minutes operating systems may fall below 59.4 hertz before risking total system outages | 9